WIDAR Alerts
Proposal And Examples
Version 1.0

This is an informal memo.
It has been created in order to present examples of the alerts that will be generated by WIDAR components and to facilitate discussion.

Sonja Vrcic

# WIDAR Alert – Content
Alert ID – string. (Is there any particular format that we should implement. For example component ID + integer.)
Originator:
1. physical location / address. Examples: mccc, cpcc1, cpcc2, cbe-master, cbe-node-1, b108-t-0.
2. component - software process that generated the alert. Examples: smokeDetector, cm, crm, dmd, mah, mirrorLink, boardMonitorThread. Optional attribute – CMIB software does not need to include this.

WIDAR boards report the location and unique ID (see below). Software components would specify the location and component.
In some cases, originator is same as failed component. For example, when CMIB software reports loss of timecode, the originator and component under alert are same. In other cases, originator reports a problem for another component. For example: CM reports communication failure for Station Board (e.g. s005-t-4).
Discussion:
Is it better to have only one attribute to identify originator (e.g. origin=mccc-cm) or should we have two attributes: originatorLocation (cpcc, mccc, b108-t-3) and originatorComponent (smokeDetector, cm, crm, dmd, mah, mirrorLink, boardMonitorThread).
If we define one attribute the messages are shorter, but software that uses alerts would have to parse the strings in order to get component ID. The same applies for the “component under alert”.

      4) Component under alert (failed component):
1. physical location / address
2. component - device or software process

Component ID can be either device ID (e.g. ccx0y0, rcx0, cbe-node-01, b108-t-0) or software process (smokeDetector, cm, crm, dmd, mah, mirrorLink, boardMonitorThread).
Discussion:
- In the case when the originator is same as the failed component, it is not necessary to explicitly specify the failed component. Should we always include both ? Perhaps that would provide for more robust alert reporting system and would help us avoid confusion, since in some cases it is not immediately obvious that the originator does not need to be the same as failed component.
- In same cases, there is no failed component. For example, when reporting failure while parsing a received message and other “user requests”, there is no “failed component”. Alert should specify the originator and if possible the originator of the message.

1. Component unique ID (board serial number). Relevant in the case that the originator is CMIB. Should be included only if the originator and component under alert are on the same board.
2. Trigger or cause of the alert. Examples: IO Failure, configuration failed, stage 3 smoke detected, loss of AC power, over temperature, timecode A loss of sync, bad input from baseline board, cbe node disappeared, etc.
1. Time (MJD) – For most failures the time when the failure was detected (often same as the time stamp). For alerts reporting configuration failure, the Activation Time of the configuration that failed (often in the future).
2. Time stamp – time when the originator generated alert. Human readable format, UT. Example: 2011-03-09T23:09:32.822
3. Config ID – configuration ID – relevant when cause is “configuration failure”. May be useful in other cases. E.g. In the case of device failure on a WIDAR board, it may be useful to know whether the board was/is used and for which observation. Should this be specified as an attribute or as a part of description ?
4. Flag data indicator – indication that the observed data should be flagged (for MCAF). This could be optional attribute to be included only if data should be flagged.
5. Identify data to be flagged: Antenna ID, Station ID (SID), BBID, SBID, spectral window ID. For discussion: should this be formated as one string. Or should we define an attribute for each ID.
6. Description. String, free format, human readable text.
7. Action. String, free format, human readable text. Is there the standard terminology (standard phrases) that we should use (to make operator's life easier).
8. Severity. As already defined in EVLA system.
9. Status. As already defined in EVLA system.

# EVLA Alert – XML Schema
Two attributes have been added to this element as a result of our discussion in Socorro:
1. time stamp – time when alert was generated by the originator. Has been introduced since MJD, in the case of CM and CMIB generated alerts, will be used to specify the activation time (which may be, and usually is, in the future).
2. configId – identifier of the configuration. To be used when reporting configuration failures.

Note that antenna ID, device ID, monitor point ID and severity are required attributes.
Those three IDs and severity are used to generate unique identifier of an alert.
I presume that “status=ON” and “status=OFF” must use the same IDs.

<?xml version="1.0"?>
<xs:schema xmlns:xs="http://www.w3.org/2001/XMLSchema">
<xs:element name="alerts" >
<xs:complexType >
<xs:sequence>
<xs:element name="alert" minOccurs="0" maxOccurs="unbounded">
<xs:complexType >
<xs:attribute name="antId"	type="xs:string"	use="required"/>
<xs:attribute name="devId"	type="xs:string"	use="required"/>
<xs:attribute name="mpId"	type="xs:string"	use="required"/>
<xs:attribute name="severity"	type="xs:string"	use="required"/>
<xs:attribute name="id"	type="xs:string"	use="optional"/>
<xs:attribute name="origin"	type="xs:string"	use="optional"/>
<xs:attribute name="mjd"	type="xs:string"	use="optional"/>
<xs:attribute name="lo_alert"	type="xs:string"	use="optional"/>
<xs:attribute name="hi_alert"	type="xs:string"	use="optional"/>
<xs:attribute name="description" type="xs:string"	use="optional"/>
<xs:attribute name="action"	type="xs:string"	use="optional"/>
<xs:attribute name="mpValue"	type="xs:string"	use="optional"/>
<xs:attribute name="value"	type="xs:string"	use="required"/>
<xs:attribute name="expire"	type="xs:long"	use="optional"	default="86400"/>
<xs:attribute name="flag"	type="xs:boolean" use="optional"	default="false"/>
<xs:attribute name="status"	type="xs:string"	use="optional"/>
<xs:attribute name="configId" type="xs:string"	use="optional"/>
</xs:complexType>
</xs:element>
</xs:sequence>
<xs:attribute name="timestamp" type="xs:dateTime" use="optional"/>
</xs:complexType>
</xs:element>
</xs:schema>
# Mapping WIDAR Info into EVLA Alert
1. Alert ID - element alert, attribute id (string)
2. Time stamp – element alerts, attribute timeStamp (XML dateTime)
3. Originator - element alert, attribute origin (string)
4. Component under alert (failed component) – devId (string)
5. Trigger or cause of the alert - mpId (string)
6. Time (MJD) - mjd (string)
7. Config ID – configId (string)
8. Flag data indicator – flag (boolean)
9. Identify data to be flagged – antid (string)
10. Description – description (string)
11. Recommended action – action (string)
12. Severity – severity string)
13. Status – status (string)
The only information than can not be mapped into an existing EVLA attribute is the board serial number (unique ID). In fact, not everyone is convinced that the serial number should be included in the alerts. In my opinion that would be useful for troubleshooting: one would be able to search alert data base for the problems detected on a particular board (or other peace of hardware).
It would be possible to use EVLA Alert format for the WIDAR correlator, but that would force us to concatenate component Ids in a single string. For example, the originator (origin) or failed component (devId) would be specified as:
- s003-b-0 (Station Board)
- b108-t-1-ccx0y3 (Baseline Board Correlator Chip)
- s102-b-5-1f14 (Station Board - Filter)
- MCCC-CM (CM, Software process running on MCCC)
Obviously, in oder to use identifiers specified in an alert, software systems would have to parse the strings, which is tedious and error prone.
Question for discussion: does any software system uses alerts to derive the status of the component(s), and, if they do, is it easier to keep the same Alert format and parse the strings, or to modify the Alert format and add “widar friendly” attributes ?
devId=”b108-t-1-ccx0y3”
or
mpLocation =”b108-t-1”
mpComponent=”ccx0y3”

# Proposed WIDAR format (alert & flagging)
Note:
- Attributes lo_alert, hi_alert and expire are carried forward from the original EVLA definition,. They may not be needed. Also, it is not clear whether WIDAR components will use attribute mpValue.
- Strings “location” and “component” may be abbreviated. Full words are used here to make proposal more readable.
- As for the data flagging, it is to be determined whether specifying BBID and SBID (in addition to antenna ID or SID) would be useful.

<?xml version="1.0"?>
<xs:schema xmlns:xs="http://www.w3.org/2001/XMLSchema">
<xs:element name="alerts" >
<xs:complexType >
<xs:sequence>
<xs:element name="alert" minOccurs="0" maxOccurs="unbounded">
<xs:complexType >
<xs:attribute name="id"	type="xs:string"	use="required"/>
<xs:attribute name="severity"	type="xs:string"	use="required"/>
<xs:attribute name="status"	type="xs:string"	use="optional"/>
<xs:attribute name="originLocation"	type="xs:string"	use="required"/>
<xs:attribute name="originComponent" type="xs:string"	use="optional"/>
<xs:attribute name="mpLocation"	type="xs:string"	use="optional"/>
<xs:attribute name="mpComponent"	type="xs:string"	use="optional"/>
<xs:attribute name="mpId"	type="xs:string"	use="required”/>
<xs:attribute name="mpValue"	type="xs:string"	use="optional"/>
<xs:attribute name="lo_alert"	type="xs:string"	use="optional"/>
<xs:attribute name="hi_alert"	type="xs:string"	use="optional"/>
<xs:attribute name="description"	type="xs:string"	use="optional"/>
<xs:attribute name="action"	type="xs:string"	use="optional"/>
<xs:attribute name="mjd"	type="xs:string"	use="required"/>
<xs:attribute name="expire"	type="xs:long"	use="optional"	default="86400"/>
<xs:attribute name="flag"	type="xs:boolean" use="optional"	default="false"/>
<xs:attribute name="dataId"	type="xs:string"	use="optional"/>
<xs:attribute name="configId" type="xs:string"	use="optional"/>
</xs:complexType>
</xs:element>
</xs:sequence>
<xs:attribute name="timestamp" type="xs:dateTime" use="optional"/>
</xs:complexType>
</xs:element>
</xs:schema>

# Examples
## Example 1 – CM Reporting VCI Configuration Failure
Existing format:
<alerts timestamp="2011-04-03T11:16:12.328" >
<alert id="CM-347"
  origin="Widar-MCCC-CM"
  mpId="ConfigurationFailure"
  cfgId="X_osro.55623.84059046296"
  mjd="123456.1234567"
  severity="0"
  status="1"
  flag=”true”
   antId="all"
  action="Kill the script."
  description="Encountered error while parsing XML element:
  java.lang.ArrayIndexOutOfBoundsException: Array index out of range: 31
   at ca.nrc.widar.vciMapper.BlbRxpFpga.setInputToOutput(BlbRxpFpga.java:369)
at ca.nrc.widar.vciMapper.BaselineBoard.firstBlbLowerSumToCcArray(BaselineBoard.java:4637)
at ca.nrc.widar.vciMapper.SummedArray.oneCcqPerProduct(SummedArray.java:2214)"
/>
</alerts>
The same alert in modified WIDAR format . Changes in italics.
<alerts timestamp="2011-04-03T11:16:12.328" >
<alert id="CM-347"
  originLocation="MCCC"
  originComponent=”CM”
  mpId="ConfigurationFailure"
  cfgId="X_osro.55623.84059046296"
  mjd="123456.1234567"
  severity="0"
  status="1"
  flag=”true”
   dataId="all"
  action="Kill the script."
  description="Encountered error while parsing XML element:
  java.lang.ArrayIndexOutOfBoundsException: Array index out of range: 31
   at ca.nrc.widar.vciMapper.BlbRxpFpga.setInputToOutput(BlbRxpFpga.java:369)
at ca.nrc.widar.vciMapper.BaselineBoard.firstBlbLowerSumToCcArray(BaselineBoard.java:4637)
at ca.nrc.widar.vciMapper.SummedArray.oneCcqPerProduct(SummedArray.java:2214)"
/>
</alerts>
## Example 2 – CM Reports Non-responsive Board
The board is not used (not part of a subarray). Therefore, flagging is not required.
Board is not connected to an EVLA antenna. Description includes a part of the message that failed.

<alerts timestamp="2011-02-28T19:01:11.438" >
<alert id="CM-1267"
        mjd="345678.1234567"
        origin="Widar-MCCC-CM"
        devId="Widar-s008-t-2"
        mpId="IO_Failure"
        severity="2"
        status="1"
        action="Write_maintenance_report."
        description="HttpClientLink Exception:_IO_Failure_with_URL:
        'http://s008-t-2/mah'--connect_timed_out."
/>
</alerts>

Modified format
<alerts timestamp="2011-02-28T19:01:11.438" >
<alert id="CM-1267"
        mjd="345678.1234567"
        originLocation="MCCC"
        originComponent="CM"
        mpLocation="s008-t-2"
        mpId="IO_Failure"
        severity="2"
        status="1"
        action="Write_maintenance_report."
        description="HttpClientLink Exception:_IO_Failure_with_URL:
        'http://s008-t-2/mah'-connect_timed_out."
/>
</alerts>

## Example 3 – CM Reporting Board Identity Problem
This alert does not specify BBID, which means that all the basebands for this antenna would be flagged.
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CM-4531"
  mjd="234567.1234567"
  origin="Widar-MCCC-CM"
        devId="Widar-b101-t-1"
  mpId="ConfigurationFailed."
        flag=”true”
  antId="ea1"
  severity="2"
  status="1"
  action="Write_maintenance_report."
        description="Received response from unexpected component:
        rack/crate/slot=101/3/15.
        CorrModelID=254"
/>
</alerts>

Modified format
Note: In this case CM can identify station and BBID. dataId=1/0 refers to Station ID (SID) and BasebandID (BBID), It could be specified as ea01-BBID0, but would that be easier to parse ?
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CM-4531"
  mjd="234567.1234567"
  originLocation="MCCC"
   originComponent="CM"
  mpLocation="b101-t-1"
  mpId="ConfigurationFailed"
        flag=”true”
  dataId="1/0"
  severity="2"
  status="1"
  action="Write_maintenance_report."
        description="Received response from unexpected component:
        rack/crate/slot=101/3/15.
        CorrModelID=254"
/>
</alerts>

## Example 4 – CPCC Smoke Detector Reporting Stage 3 Alarm

    physical originator: cpcc
    originating process: SmokeDetector
        monitor point: Stage3 Smoke Alarm
        value: on
        description: The system will commence board shutdown.
        action: None - watch the shutdown take place if you want.

<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-201"
  mjd="234567.1234567"
  origin="Widar-CPCC-SmokeDetector"
  mpId="Stage3_Smoke_Alarm"
  severity="0"
  status="1" // means On
  action="None - watch the shutdown take place."
        description="The system will commence board shutdown."
/>
</alerts>

Modified format
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-201"
  mjd="234567.1234567"
  originLocation="CPCC"
        originComponent="SmokeDetector"
  mpId="Stage3_Smoke_Alarm"
  severity="0"
  status="1" // means On
  action="None - watch the shutdown take place."
        description="The system will commence board shutdown."
/>
</alerts>

## Example 5 – CPCC Reporting Overheated Board
    physical originator: cpcc
    originating process: TemperatureMonitorControl
        monitor point: b108-t-0
        value: power_down_on_overtemp
        description: This board is being powered off by CPCC in
        order to protect it from over heating damage.
        action: Call HVAC people to investigate high
        temperature (or whatever).

<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-12306"
  mjd="234567.1234567"
  origin="Widar-CPCC-TemperatureMonitorControl"
  devId=”b108-t-0”
  mpId="power_down_on_overtemp"
  severity="1"
  status="1" // means On
  action="Call HVAC people to investigate high temperature (or whatever)."
        description="This board is being powered off by CPCC in
        order to protect it from over heating damage."
/>
</alerts>

Modified format
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-12306"
  mjd="234567.1234567"
  originLocation="CPCC"
        originComponent="TemperatureMonitorControl"
  mpLocation=”b108-t-0”
  mpId="power_down_on_overtemp"
  severity="1"
  status="1" // means On
  action="Call HVAC people to investigate high temperature (or whatever)."
        description="This board is being powered off by CPCC in
        order to protect it from over heating damage."
/>
</alerts>

## Example 6 – MCCC Board Monitor Reports Non-Responsive Board

    physical originator: mccc
    originating process: Mccc.BoardMonitor
        monitor point: b108-b-0
        value: lost_communications
        description: Cannot talk to CMIB on this board.
        action: ?

<alerts timestamp="2011-02-28T19:01:11.438" >
<alert id="BM-4563"
        mjd="345678.1234567"
        origin="Widar-MCCC-BoardMonitor”
        devId="Widar-b108-b-0"
        mpId="lost_communications"
        severity="2"
        status="1"
        action="Write_maintenance_report."
        description="Cannot talk to CMIB on this board"
/>
</alerts>

Modified format
<alerts timestamp="2011-02-28T19:01:11.438" >
<alert id="CM-1267"
        mjd="345678.1234567"
        originLocation="MCCC"
        originComponent="BoardMonitor"
        mpLocation="b108-b-0"
        mpId="lost_communications"
        status="1"
        action="Write_maintenance_report."
        description="Cannot talk to CMIB on this board"
/>
</alerts>

## Example 7 – CPCC Reports Loss Of Communication With The Other CPCC

    physical originator: cpcc
    originating process: CpccMain.Watchdog
        monitor point: mirrorLink
        value: lost_communication_with_other_cpcc
        description: The two CPCCs chat back and forth to ensure they
        both agree on system state. If the chatline breaks,
        this alert is raised.
        Action: ?

<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-12874"
  mjd="234567.1234567"
  origin="Widar-CPCC1-CpccMain.Watchdog"
  devId=”CPCC2”
  mpId="mirrorlink"
  severity="0"
  status="1" // means On
  action=""
        description="The two CPCCs chat back and forth to ensure they both agree on system state.
        If the chatline breaks, this alert is raised."
/>
</alerts>

Modified format
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CPCC-12874"
  mjd="234567.1234567"
  originLocation="CPCC1"
  originComponent="CpccMain.Watchdog"
  mpLocation="CPCC2"
  mpComponent="mirrorlink"
  mpId="lost_communication_with_other_cpcc"
  severity="0"
  status="1" // means On
  action="Requires immediate attention."
        description="The two CPCCs chat back and forth to ensure they both agree on system state.
        If the chatline breaks, this alert is raised."
/>
</alerts>

## Example 8 – MCCC Watchdog Reports Task Failure

    physical originator: mccc
    originating process: DelayModelDistributor.Watchdog
        monitor point: DelayModelListenerThread
        value: stopped
        description: It is likely that delay models are no longer being
        distributed to the Station Boards.
        Action: ?
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="MCCC-WD-3"
  mjd="234567.1234567"
  origin="Widar-MCCC-Watchdog"
  devId=”DelayModelDistributor”
  mpId="stopped"
  severity="1"
  status="1"
        flag=”true”
        antId=”all”
  action=”Write report. If it repeats call ? (Watchdog should re-start the task.)“
        description="It is likely that delay models are no longer being
        distributed to the Station Boards. "
/>
</alerts>
Modified format
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="MCCC-WD-3"
  mjd="234567.1234567"
  originLocation=”MCCC"
  originComponent="Watchdog"
  mpLocation=”MCCC”
  mpComponent=”DelayModelDistributor”
  mpId="stopped"
  severity="1"
  status="1"
        flag=”true”
        dataId=”all”
  action=”Write report. If it repeats call.? (Watchdog should re-start the task.)“
        description="It is likely that delay models are no longer being
        distributed to the Station Boards. "
/>
</alerts>
## Example 9 – CMIB Reports TIMECODE Loss of Synchronization
CMIB generated log:
<alert loc='s002-t-6' sn='sb0014' time='1299076683.159' msg='TIMECODE lost sync'/>
<alert loc='s002-t-6' sn='sb0014' time='1299076686.01' msg='TIMECODE restored' />

MCCC Alert Handler generates Alert:
The origin and devId are same, if we drop one, received should assume that they are same.
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1234"
  mjd="1299076683.159"
  origin="Widar-s002-t-6"
        devId="Widar-s002-t-6"
  mpId="TIMECODE lost sync "
  severity="3"
  status="1" // means On
        flag=”true”
        antId=”ea07” // Antenna ID obtained from CM
  action=”Write report.“
        description="S/N=sb0014 Data will be automatically flagged. "
/>
</alerts>
or in modified format:
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1234"
  mjd="1299076683.159"
  originLocation="s002-t-6" // Should this be: MCCC-AlertHandler ?
        mpLocation="s002-t-6" // same as origin, could be dropped
        uniqueId=” sb0014”
  mpId="TIMECODE lost sync "
  severity="3"
  status="1" // means On
        flag=”true”
        dataId=”7/2” // Station ID and BBID obtained from CM.
  action=”Write report.“
        description="Data will be automatically flagged. "
/>
</alerts>

Clear alert
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1236"
  mjd="12990766895159"
  origin="Widar-s002-t-6"
        devId="Widar-s002-t-6"
  mpId="TIMECODE lost sync "
  severity="3"
  status="0" // means Off
        flag=”false”
        antId=”ea07” // Antenna ID obtained from CM
  action=”None“
        description="S/N=sb0014"
/>
</alerts>
or in modified format:
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1236"
  mjd="1299076695.159"
  originLocation="s002-t-6"
        mpLocation="s002-t-6" // same as origin, could be dropped
        uniqueId=” sb0014”
  mpId="TIMECODE lost sync "
  severity="3"
  status="0" // means Off
        flag=”false”
        dataId=”7/2” // Station ID and BBID obtained from CM.
  action=”None“
        description=""
/>
</alerts>

Per the meeting last week, this could be a single message (low
'severity') announcing the incident has automatically recovered:
<alert loc='s002-t-6' sn='sb0014' time='1299076686.01' msg='TIMECODE
restored after losing sync for 2.851 seconds'/>

or that a threshold has been exceeded (high 'severity'):
<alert loc='s002-t-6' sn='sb0014' time='1299076693.159' msg='TIMECODE
out of sync for 10.0 seconds'/>
MCCC Alert Handler would generate something like this:
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1234"
  mjd="1299076683.159"
  origin="Widar-s002-t-6"
        devId="Widar-s002-t-6"
  mpId="TIMECODE - temporary loss of sync"
  severity="3"
  action=”None“
        description="S/N=sb0014 TIMECODE restored after losing sync for 2.851 seconds"
/>
</alerts>
or in modified format:
<alerts timestamp="2011-03-15T19:01:11.438" >
<alert
        id="CMIB-1234"
  mjd="1299076683.159"
  originLocation="s002-t-6"
        mpLocation="s002-t-6" // same as origin, could be dropped
        uniqueId=” sb0014”
  mpId="TIMECODE - temporary loss of sync"
  severity="3"
  action=”None“
        description="S/N=sb0014 TIMECODE restored after losing sync for 2.851 seconds"
/>
</alerts>